Real-Time iot data pipeline

Requirements Report

Overview

The objective of this report is to identify the key stakeholders of the project and translate their diverse needs into a set of technical specifications.

# Key stakeholders

Identifying key stakeholders is essential to ensure the data pipeline meets the needs of everyone from the technical team to the end users.

| NAME | Interest/Need |
| --- | --- |
| Operations managers | Real-time alerts to prevent equipment failure or environmental hazards. |
| Data analysts | Clean, reliable historical data for long-term trend analysis. |
| IT/DevOps team | System stability, low maintenance overhead, and scalability of the pipeline. |
| Project owners | Cost effective solution within budget that meets the technical requirements of the project. |

# User Stories & Use Cases

- User Stories

As an Operations Supervisor, I want to receive an instant alert when the temperature exceeds 40°C so that I can investigate potential hardware overheating. As a Data Analyst, I want to access historical humidity records in the SQL database so that I can generate monthly environment reports. As a System Administrator, I want to monitor the status of the Kafka stream so that I can ensure no data is being lost during ingestion.

## Use Case: Threshold Breach Alerting

## Actor: Monitoring System / Operations Lead.

## Precondition: IoT sensors are generating data at 5s intervals.

## Basic Flow:

## 1. Sensor sends a temperature reading of 42°C.

## 2. Streaming Analytics engine detects the value exceeds the 40°C threshold.

## 3. System triggers an alert notification. Alert is displayed on the real-time dashboard.

# System requirements

To successfully build an IoT ETL pipeline, some requirements must be met. These requirements are split between the hardware resources needed to run the code and the software capabilities needed to manage the data.

## 1. Functional Requirements

- Connectivity: Must support protocols like MQTT, HTTP, or AMQP to receive data from sensors.

- Ingestion Rate: Capability to handle high-velocity streams (e.g., hundreds of messages per second) without data loss.

- Transformation Logic: Ability to parse JSON, handle missing values, and normalize units.

- State Management: For streaming, the system must remember the last few readings to calculate moving averages or detect trends.

## 2. Non-Functional Requirements (Performance & Quality)

- Reliability: The data generation script must include retry logic to handle temporary network interruptions.

- Latency: To give timely alerts, latency should be < 5 seconds.

- Security: Access to the SQL database and dashboard must be restricted via authenticated credentials.

- Deduplication: The system must ensure that if a data packet is sent twice, it is only recorded once in the final database.

- Fault Tolerance: If a processing node fails, the system must be able to resume from the last checkpoint without losing the data stream.

- Scalability: The architecture must be horizontal, meaning you can add more worker nodes as you add more sensors.

- Usability: The dashboard must be easy and understand and to use.

## 3. Software Requirements

- Runtime: Python (for simulation and ETL).

- Libraries:  pandas for batch transformations. Kafka or Azure Event Hub for connectivity. SQLAlchemy for database interaction.

- Containerization: Docker and Docker Compose to ensure the Kafka broker, database, and Python scripts run in a consistent environment.